MISO Expedited Project Review Request Form

Expedited Project Review Request

Please complete the following information:

| Transmission Owner’s / Constructing Entity’s Name | 1803 Electrical Cooperative, Inc |
| --- | --- |
| Project Name | 1803 - 2026 Age and Condition Program |
| Project Description | The 1803 Age and Condition Program prioritizes replacing aged and/or degraded transmission substation assets prioritized on equipment condition assessments. This project covers the execution of this program in 2026 to replace aging equipment such as: arrestors, breakers, switches, motor operated switches, current transformers, potential transformers, communication equipment, protective relays, battery banks, or battery chargers. |
| Load Type (if applicable) | N/A |
| Cost | $6,057,279 |
| Reason for Requesting Expedited Review | 1803 Electric Cooperative, Inc was approved as a MISO TO on June 12, 2025. This EPR request is for the evaluation of a 2026 MTEP “Other/Age and Condition” project for work to be performed during calendar year 2026. Due to expected lead times of BES equipment 1803 requests approval of this project ahead of the MTEP26 cycle. |
| Required In-service Date of Project (ISD) | 12/31/2026 |
| Expected lead-time from start of major expenditures to in-service date | 12 Months |
| Requested date for inclusion in current cycle MTEP | 09/30/2025 |

Supporting Data Required for Valid Request

Please Specify Status of Supporting Data Submitted to MISO

|  | INCLUDED or DATE Data to be Submitted | File name or MOD Proj Name |
| --- | --- | --- |
| Submission of Transmission Owner planning study | N/A | N/A |
| Submission of project into MISO Project Database (include related MTEP project IDs) | MTEP Project ID 51058 was submitted on 09/19/25 | N/A |
| Submission of model updates to Model on Demand (MOD) | N/A | N/A |
| Submission of available additional information supporting the in-service date requirement | N/A | N/A |
| Dynamic Study – composite load model for any load change | N/A | N/A |
| Contingency Update File | N/A | N/A |
| Monitored Element Update File | N/A | N/A |
| One-Line diagram update | N/A | N/A |
| Load Ramp Schedule | N/A | N/A |

Please e-mail completed expedited project review request form to one of the MISO Liaison regional representatives shown on the Subregional Planning Meeting (SPM) page of the MISO public website: Subregional Planning Meeting (misoenergy.org)