## Substations
Transmission Owner: | 1803 Electric Cooperative, Inc.
Transmission Facilities Transferred to MISO’s Functional Control Pursuant to Appendix H (Transmission System Facilities) and Non-transferred Transmission Facilities that are subject to Appendix G (Agency Agreement) of the Transmission Owners Agreement
Submittal Date: | 2026-09-15
Substations or Switching Stations
Substation Name | State | Nominal Max kV | Nominal Min kV | Sub ID (Optional) | Comments | Under MISO Functional Control (Appendix H) or Non-Transferred Facilities (Appendix G)
Transmission Facilities Transferred to MISO’s Functional Control Pursuant to Appendix H (Transmission System Facilities) | [5 empty] | H
ANGIE | LA | 230 |  |  |  | H
ASHLAND | LA | 115 |  |  |  | H
BARKERS CORNER | LA | 230 |  |  |  | H
BASKIN | LA | 115 |  |  |  | H
CANEY | LA | 138 |  |  |  | H
CHICKASAW | LA | 115 |  |  |  | H
FRENCH BRANCH | LA | 230 |  |  |  | H
GILBERT | LA | 115 |  |  |  | H
GREENWOOD | LA | 115 |  |  |  | H
HOLLY RIDGE | LA | 115 |  |  |  | H
HOLTON | LA | 115 |  |  |  | H
LANDRY | LA | 230 |  |  |  | H
LOG CABIN BULK | LA | 115 |  |  |  | H
MARION | LA | 115 |  |  |  | H
METROPOLIS | LA | 115 |  |  |  | H
MINDEN BULK | LA | 115 |  |  |  | H
MOSS BLUFF | LA | 230 |  |  |  | H
RUSTON EAST | LA | 115 |  |  |  | H
SPANISH TRAIL | LA | 138 |  |  |  | H
TALISHEEK | LA | 230 |  |  |  | H
TRUSSELLS CROSSING | LA | 115 |  |  |  | H
PERSIMMON MILL | LA | 115 |  |  |  | H
Non-transferred Transmission Facilities that are subject to Appendix G (Agency Agreement) of the Transmission Owners Agreement. | [5 empty] | G
None

## Transformers
Transmission Owner: | 1803 Electric Cooperative, Inc.
Transmission Facilities Transferred to MISO’s Functional Control Pursuant to Appendix H (Transmission System Facilities) and Non-transferred Transmission Facilities that are subject to Appendix G (Agency Agreement) of the Transmission Owners Agreement
Submittal Date: | 2025-07-22
Transformers
Substation Name | Transformer ID | Nominal High Side kV | Nominal Low Side kV | Normal Summer MVA | Comments | Under MISO Functional Control (Appendix H) or Non-Transferred Facilities (Appendix G)
Transmission Facilities Transferred to MISO’s Functional Control Pursuant to Appendix H (Transmission System Facilities) | [5 empty] | H
None
Non-transferred Transmission Facilities that are subject to Appendix G (Agency Agreement) of the Transmission Owners Agreement. | [5 empty] | G
None

## Transmission Lines
Transmission Owner: |  | 1803 Electric Cooperative, Inc.
Transmission Facilities Transferred to MISO’s Functional Control Pursuant to Appendix H (Transmission System Facilities) and Non-transferred Transmission Facilities that are subject to Appendix G (Agency Agreement) of the Transmission Owners Agreement
Submittal Date: |  | 2025-07-22
Transmission Lines
From Substation | To Substation | kV | Circuit ID | Length (miles) | State | Line ID (Optional) | Line Name (Optional) | Segment # (Optional) | Comments | Under MISO Functional Control (Appendix H) or Non-Transferred Facilities (Appendix G)
Transmission Facilities Transferred to MISO’s Functional Control Pursuant to Appendix H (Transmission System Facilities) | [9 empty] | H
None
Non-transferred Transmission Facilities that are subject to Appendix G (Agency Agreement) of the Transmission Owners Agreement. | [9 empty] | G
None